## Cx Testing Hours Rubric
Equipment Type | L2 Labor Hours Per Unit | L3 Labor Hours Per Unit | L4 Labor Hours Per Unit | L5 Labor Hours Per Unit | L6 Labor Hours Per Unit | Units
Transformer | 0.9 | 1.6 | 0.73728 | 0.5 | 0.5 | Each
Busway | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | Linear Feet (LF)
Metal Enclosed Busduct | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | Linear Feet (LF)
Ring Main Unit | 0.9 | 1.6 | 0.73728 | 0.5 | 0.5 | Each
Generator | 1.35 | 1.6 | 1.4746 | 0.5 | 0.5 | Each
MV Switchboard | 2.7 | 4.8 | 2.2118 | 0.5 | 0.5 | Each
Chiller | 1.35 | 1.6 | 1.4746 | 0.5 | 0.5 | Each
Buffer Tank/Thermal Storage | 0.45 | 0.8 | 0.73728 | 0.5 | 0.5 | Each
LV Switchboard | 2.7 | 3.2 | 1.4746 | 0.5 | 0.5 | Each
UPS | 0.9 | 2.4 | 1.8432 | 0.5 | 0.5 | Each
CRAH/Fan Wall | 1.35 | 2.4 | 0.73728 | 0.5 | 0.5 | Each
Battery Cabinets | 1.35 | 0.8 | 0.36864 | 0.5 | 0.5 | Each
HAC - SmartRun | 1.8 | 3.2 | 0.73728 | 0.5 | 0.5 | Each
Rack Power Panel | 0.9 | 1.6 | 1.1059 | 0.5 | 0.5 | Each
Remote Distribution Panel | 1.35 | 1.6 | 1.1059 | 0.5 | 0.5 | Each
CDU | 0.9 | 2.4 | 1.4746 | 0.5 | 0.5 | Each